| Causey Water System 2014 Consumer Confidence Report |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Spanish (Espanol) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Este informe contiene informacion muy importante sobre la calidad de su agua potable. Por favor lea este informe o comuniquese con alguien que pueda traducir la informacion. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is my water safe? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| We are pleased to present this year's Annual Water Quality Report (Consumer Confidence Report) as required by the Safe Drinking Water Act (SDWA). This report is designed to provide details about where your water comes from, what it contains, and how it compares to standards set by regulatory agencies. This report is a snapshot of last year's water quality. We are committed to providing you with information because informed customers are our best allies. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Do I need to take special precautions? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Water Drinking Hotline (800-426-4791). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Where does my water come from? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water provided by the Causey Water Department is derived from a well located west of town. The well is 198 feet deep and has a static water level of 105 feet. The water is pulled from the High Plains Ogallala Aquifer which consists of sand and gravel. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Source water assessment and its availability |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The Causey Water Department is well maintained and operated, and sources of drinking water are generally protected from potential sources of contamination based on well construction, hydrogeologic settings, and system operations and management. The susceptibility rank of the entire water system is Moderate. Please contact the Causey Water Department to discuss the findings of the SWAPP report. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Why are there contaminants in my drinking water? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's (EPA) Safe Drinking Water Hotline (800-426-4791). The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity: Contaminants that may be present in source water include: microbial contaminants, such as viruses and bacteria, that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife; inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial, or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; and radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How can I get involved? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| To participate in decisions that affect your water system, you may attend the Village of Causey Council Meetings. They are regularly scheduled for the second Tuesday of each month at 6:30 PM. Regular and special meeting announcements are posted at the Causey Community Center, the Causey Post Office, the Causey Fire Department and the Causey Village Office. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Conservation Tips |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Did you know that the average U.S. household uses approximately 400 gallons of water per day or 100 gallons per person per day? Luckily, there are many low-cost and no-cost ways to conserve water. Small changes can make a big difference – try one today and soon it will become second nature. - Take short showers - a 5 minute shower uses 4 to 5 gallons of water compared to up to 50 gallons for a bath. - Shut off water while brushing your teeth, washing your hair and shaving and save up to 500 gallons a month. - Use a water-efficient showerhead. They're inexpensive, easy to install, and can save you up to 750 gallons a month. - Run your clothes washer and dishwasher only when they are full. You can save up to 1,000 gallons a month. - Water plants only when necessary. - Fix leaky toilets and faucets. Faucet washers are inexpensive and take only a few minutes to replace. To check your toilet for a leak, place a few drops of food coloring in the tank and wait. If it seeps into the toilet bowl without flushing, you have a leak. Fixing it or replacing it with a new, more efficient model can save up to 1,000 gallons a month. - Adjust sprinklers so only your lawn is watered. Apply water only as fast as the soil can absorb it and during the cooler parts of the day to reduce evaporation. - Teach your kids about water conservation to ensure a future generation that uses water wisely. Make it a family effort to reduce next month's water bill! - Visit www.epa.gov/watersense for more information. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cross Connection Control Survey |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The purpose of this survey is to determine whether a cross-connection may exist at your home or business. A cross connection is an unprotected or improper connection to a public water distribution system that may cause contamination or pollution to enter the system. We are responsible for enforcing cross-connection control regulations and insuring that no contaminants can, under any flow conditions, enter the distribution system. If you have any of the devices listed below please contact us so that we can discuss the issue, and if needed, survey your connection and assist you in isolating it if that is necessary.  Boiler/ Radiant heater (water heaters not included)  Underground lawn sprinkler system  Pool or hot tub (whirlpool tubs not included)  Additional source(s) of water on the property  Decorative pond  Watering trough |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Source Water Protection Tips |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Protection of drinking water is everyone’s responsibility. You can help protect your community’s drinking water source in several ways: - Eliminate excess use of lawn and garden fertilizers and pesticides – they contain hazardous chemicals that can reach your drinking water source. - Pick up after your pets. - If you have your own septic system, properly maintain your system to reduce leaching to water sources or consider connecting to a public water system. - Dispose of chemicals properly; take used motor oil to a recycling center. - Volunteer in your community. Find a watershed or wellhead protection organization in your community and volunteer to help. If there are no active groups, consider starting one. Use EPA’s Adopt Your Watershed to locate groups in your community, or visit the Watershed Information Network’s How to Start a Watershed Team. - Organize a storm drain stenciling project with your local government or water supplier. Stencil a message next to the street drain reminding people “Dump No Waste - Drains to River” or “Protect Your Water.” Produce and distribute a flyer for households to remind residents that storm drains dump directly into your local water body. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Additional Information for Lead |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Village of Causey Water Department is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead. Elevated Fluoride Levels Detected This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age. At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by the Causey Water System had a fluoride concentration of 2.46 milligrams per liter. Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under the age of nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to contact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water. Drinking water containing more than 4 mg/l of fluoride (the EPA's drinking water standard) can increase your risk of developing bone disease. Your drinking water does not contain more than 4 mg/l of fluoride, but we are required to notify you when we discover that the fluoride levels in your drinking water exceed 2 mg/l because of this cosmetic dental problem. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Violations and Exceedances – Total Coliform Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, bacteria may be present. In August 2014 coliforms were found in more samples than allowed and this was a warning of potential problems. We routinely monitor for the presence of drinking water contaminants. One (1) routine sample and four (4) repeat samples submitted for the month of August 2014 showed the presence of coliform bacteria. The standard is that no more than one sample per month may do so. By August 19, 2014, special water samples collected from the system were negative for bacteria. Contamination of distribution system from working on water lines and also stagnant water in the tanks. Work on water lines has been completed. Tank and distribution lines have been chlorinated. Special water samples have been analyzed and have come back negative. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Quality Data Table |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of contaminants in water provided by public water systems. The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. Although many more contaminants were tested, only those substances listed below were found in your water. All sources of drinking water contain some naturally occurring contaminants. At low levels, these substances are generally not harmful in our drinking water. Removing all contaminants would be extremely expensive, and in most cases, would not provide increased protection of public health. A few naturally occurring minerals may actually improve the taste of drinking water and have nutritional value at low levels. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not vary significantly from year to year, or the system is not considered vulnerable to this type of contamination. As such, some of our data, though representative, may be more than one year old. In this table you will find terms and abbreviations that might not be familiar to you. To help you better understand these terms, we have provided the definitions below the table. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | MCLG |  | MCL, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | or |  | TT, or |  |  | Your |  |  | Range |  |  |  |  |  |  | Sample |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminants | MRDLG |  | MRDL |  |  | Water |  |  | Low |  | High |  |  |  |  | Date |  |  | Violation |  |  |  |  |  | Typical Source |  |  |  |  |  |  |
| Microbiological Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Coliform (positive samples/month) |  | 0 |  | 1 |  |  |  | 5 |  | 0 |  | 5 |  |  |  |  | 2014 |  |  |  | Yes |  |  |  |  |  | Naturally present in the environment |  |  |  |  |
| Inorganic Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fluoride (ppm) | 4 |  | 4 |  |  | 2.46 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |  |  |  |  |  |  |  |
| Arsenic (ppb) | 0 |  | 10 |  |  | 2.0 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes |  |  |  |  |  |  |  |
| Nitrate [measured as Nitrogen] (ppm) | 10 |  | 10 |  |  | 2.3 |  |  | NA |  |  |  |  |  |  | 2014 |  | No |  |  |  |  |  | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |  |  |  |  |  |  |  |
| Chromium (ppb) | 100 |  | 100 |  |  | 2.0 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Discharge from steel and pulp mills; erosion of natural deposits |  |  |  |  |  |  |  |
| Sodium (optional) (ppm) | ‘--- |  | MPL |  |  | 66 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Erosion of natural deposits; Leaching |  |  |  |  |  |  |  |
| Radioactive Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Alpha emitters (pCi/L) | 0 |  | 15 |  |  | 6.1 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Erosion of natural deposits |  |  |  |  |  |  |  |
| Beta/photon emitters (pCi/L) | 0 |  | 50 |  |  | 7.2 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Decay of natural and man-made deposits. |  |  |  |  |  |  |  |
| Radium (combined 226/228) (pCi/L) | 0 |  | 5 |  |  | 0.12 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Erosion of natural deposits |  |  |  |  |  |  |  |
| Uranium (ug/L) | 0 |  | 30 |  |  | 10 |  |  | NA |  |  |  |  |  |  | 2012 |  | No |  |  |  |  |  | Erosion of natural deposits |  |  |  |  |  |  |  |

Water Quality Data Table (cont.)

|  |  |  | Your |  |  | Sample |  |  | # Samples |  |  |  |  |  |  | Exceeds |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminants | MCLG | AL | Water |  |  | Date |  | Exceeding AL |  |  |  |  |  |  |  | AL |  |  |  | Typical Source |  |  |  |
| Inorganic Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Copper - action level at consumer taps (ppm) | 1.3 | 1.3 | 0.053 |  |  | 2011 |  |  |  |  | 0 |  |  |  |  |  | No |  |  |  | Corrosion of household plumbing systems; Erosion of natural deposits |  |  |
| Lead - action level at consumer taps (ppb) | 0 | 15 | ND |  |  | 2011 |  |  |  |  | 0 |  |  |  |  |  | No |  |  |  | Corrosion of household plumbing systems; Erosion of natural deposits |  |  |
| Unit Descriptions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Term |  |  |  |  | Definition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ug/L |  |  |  |  | ug/L : Number of micrograms of substance in one liter of water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| mg/L |  |  |  |  | mg/L: Number of milligrams of substance in one liter of water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ppm |  |  |  |  | ppm: parts per million, or milligrams per liter (mg/L) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ppb |  |  |  |  | ppb: parts per billion, or micrograms per liter (µg/L) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| pCi/L |  |  |  |  | pCi/L: picocuries per liter (a measure of radioactivity) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MFL |  |  |  |  | MFL: million fibers per liter, used to measure asbestos concentration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NA |  |  |  |  | NA: not applicable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ND |  |  |  |  | ND: Not detected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NR |  |  |  |  | NR: Monitoring not required, but recommended. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Important Drinking Water Definitions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Term |  |  |  |  | Definition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MCLG |  |  |  |  | MCLG: Maximum Contaminant Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MCL |  |  |  |  | MCL: Maximum Contaminant Level: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TT |  |  |  |  | TT: Treatment Technique: A required process intended to reduce the level of a contaminant in drinking water. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| AL |  |  |  |  | AL: Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Variances and Exemptions |  |  |  |  | Variances and Exemptions: State or EPA permission not to meet an MCL or a treatment technique under certain conditions. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MRDLG |  |  |  |  | MRDLG: Maximum residual disinfection level goal. The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MRDL |  |  |  |  | MRDL: Maximum residual disinfectant level. The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MNR |  |  |  |  | MNR: Monitored Not Regulated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MPL |  |  |  |  | MPL: State Assigned Maximum Permissible Level |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For more information please contact: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Name: T. Ann Clark Address: Box 79/116 Main Causey, NM 88113 Phone: 575.273.4249 Fax: 575.273.4248 E-Mail: causeyfd@yucca.net |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

STATUS OF WATER IN NEW MEXICO AND CALL FOR CONSERVATION

Water is New Mexico’s most precious and natural resource. New Mexico has experienced several consecutive years of drought and meteorologists predict that it will continue. Water conservation is especially important during times of drought. Additionally, and arguably more critical, most aquifers in the state are being depleted. Decreasing water levels in aquifers and surface sources can increase the concentration of minerals and contaminants in the drinking water supply.

We at the Village of Causey are committed to providing a safe and consistent supply of water and we ask for your help. There are a lot of simple ways to reduce the amount of water used both inside and outside the home.  Please conserve water whenever possible by taking the following steps:

- Know your water supply provider and follow existing water restrictions.

- Stop leaks.  Toilets are the largest water user inside the home. Over time, toilet flappers can decay or minerals can build up on it. It's usually best to replace the whole rubber flapper—a relatively easy, inexpensive do-it-yourself project that pays for itself quickly. You can get instructions for testing for leaks with dye tabs for free (with free tabs) from the Office of the State Engineer’s District Offices or call 1-800-WATERNM.

- Check outdoor fixtures (swamp coolers, irrigation systems, etc) for leaks and repair any leaks.

- Consider turning the swamp cooler off when away from home.

- Minimize evaporation by watering during the early morning hours, when temperatures are cooler and winds are lighter. Make sure irrigation systems are working properly (and you are not watering the house, sidewalk or street) and use only the minimum amount of water needed by plants.

- Run water only when using it. Turn water off while brushing teeth, shaving, and/or washing counters.

- Wash only full loads of laundry. Install a water efficient clothes washer (and save 16 gallons per load).

- Take 5 minute showers.

- Flush toilets only when necessary.

- When upgrading or replacing household fixtures, install low-flow toilets, showerheads, washing machines, and faucets.